## Slide 1
APEXA
Advanced Photon EXperiment Assistant
AI-Powered Agentic Framework for Autonomous Synchrotron HEDM Experimentation
Pawan Tripathi | Advanced Photon Source | Argonne National Laboratory
March 2026

## Slide 2
The Problem: Beamtime is Precious
• HEDM data analysis requires memorizing dozens of scripts, flags, and file conventions
• MIDAS alone has 20+ executables with complex parameter files (Parameters.txt, 100+ fields)
• Operators spend significant time on command-line plumbing instead of science
• Motor control requires knowing EPICS PV naming conventions and safety procedures
• New users face a steep learning curve — weeks to become productive
• Errors in parameters or workflow order waste precious beamtime

## Slide 3
APEXA: Talk to Your Beamline
You type plain English. APEXA figures out which tools to call, in what order, with what parameters — and executes them live on your data.
“Calibrate the CeO2 data at 61.332 keV”
↓
Auto-converts energy → wavelength, finds files, runs AutoCalibrateZarr.py, reports beam center & tilts
“Integrate and show me the lineout”
↓
Runs 2D→1D integration, auto-detects calibration, launches MIDAS viewer with correct script & flags
“Move sample X to 25.3 mm”
↓
Checks soft limits, verifies limit switches, issues move, waits for completion, reports final position

## Slide 4
Architecture: Multi-Agent Orchestration
User Query (natural language)
↓
Orchestrator Agent (keyword-score routing)
↓
Calibration Agent
T=0.3
Analysis Agent
T=0.5
Knowledge Agent
T=0.6
Visualization Agent
T=0.3
Motor Agent
T=0.2
↓
↓
↓
↓
↓
Core Server (9 tools) Files, Shell, X-ray Calc
MIDAS Server (21 tools) Calibration, Integration, FF/NF/PF-HEDM
EPICS Motor Server (12 tools) Motor Control via Channel Access
Argo Gateway API — GPT-4o / GPT-5 / Claude Opus / Gemini 2.5 (switchable at runtime)

## Slide 5
42 Live Tools Across 3 MCP Servers
Core Server (9 tools)
• list_directory — Browse experiment folders
• read_file / write_file — File I/O
• run_command — Shell execution
• xray_calculate — Bragg's law, d-spacing, energy↔wavelength
• validate_beamline_parameters
• list_common_calibrants
• check_environment
MIDAS Server (21 tools)
• midas_auto_calibrate
• midas_integrate_2d_to_1d
• midas_batch_integrate
• run_ff_hedm_full_workflow
• run_nf_hedm_reconstruction
• run_pf_hedm_workflow
• match_grains (Hungarian alg.)
• calculate_misorientation
• run_forward_simulation
• extract_grain_centroids
• convert_nf_to_dream3d
• overlay_ff_nf_results
• create_midas_parameter_file
• get_material_properties
• estimate_parameters_from_image
Motor Server (12 tools)
• get_motor_position
• get_motor_status
• move_motor_absolute
• move_motor_relative
• stop_motor
• set_motor_velocity
• jog_motor
• tweak_motor
• get_motor_limits
• set_motor_limits
• list_motors
• home_motor

## Slide 6
Motor Control: AI with Built-in Safety
Natural-Language Motor Control via EPICS
• "What's the position of motor m1?" → reads RBV, VAL, units
• "Move m1 to 50.0" → checks limits, issues move, waits, reports
• "Jog forward for 2 seconds" → timed jog with auto-stop
• "Tweak m3 forward by 0.01" → fine step via TWV/TWF fields
• "Stop!" → immediate STOP=1, always allowed, no questions asked
• Works with ANY IOC using standard motorRecord convention
Safety Policy (never bypassed)
• Soft-limit check (HLM/LLM) before every move — rejects out-of-range targets
• Hard limit-switch guard (HLS/LLS) — refuses motion when at limit
• Large-move protection — moves >50% of travel range require explicit confirmation
• Never sets STOP=0 (arming is not the AI's job)
• Never homes a motor without explicit user instruction
• Motor Agent temperature = 0.2 (most deterministic of all agents)

## Slide 7
Agent Skills: Codified Beamline Knowledge
Structured knowledge documents that guide each specialist agent — version-locked to the MIDAS manual so the AI stays accurate when MIDAS updates.
midas-calibrate
Exact v10 calibration flags, output filenames, error patterns, convergence criteria
midas-integrate
Updated to v11.0 manual, 2D→1D workflow, auto-detect calibration files
midas-hedm
FF/NF/PF-HEDM full workflow references, GPU executables, checkpoint/resume
midas-visualize
Plot types, file format → viewer script mapping, critical flags (case-sensitive!)

## Slide 8
Smart Features for Beamtime Efficiency
Proactive Suggestions
After each analysis step, APEXA suggests logical next steps (e.g., after integration → “identify phases, check for peak splitting”)
Real-Time Monitoring
Watch directories for new images, auto-analyze quality, alert on saturation, low SNR, or missing diffraction rings
Image Quality Analysis
Automated SNR, saturation detection, hot pixel detection, ring detection — flags problems before you waste time analyzing bad data
Session Persistence
Save/load experiment sessions across restarts — tracks analysis history, key findings, active files
Smart Caching
Expensive read-only operations cached to avoid redundant calls — faster repeat queries
Error Prevention
Validates directories, parameter files, and inputs before execution — catches mistakes before they waste beamtime

## Slide 9
Multi-Model Support via Argo Gateway
Swap AI models at runtime without changing workflows — all through Argonne’s Argo API
OpenAI
GPT-4o, GPT-4 Turbo, GPT-5, GPT-5 Mini/Nano
PROD / DEV
Anthropic
Claude Opus 4/4.1, Sonnet 4/4.5/3.7
DEV
Google
Gemini 2.5 Pro, Gemini 2.5 Flash
DEV
3 Interfaces: CLI (start_beamline_assistant.sh), Gradio Web UI, Web Server API All share the same run_query() entry point — identical behavior across interfaces

## Slide 10
Live Demo Scenarios
1. Calibration
"Calibrate CeO2 data in test5 at 61.332 keV" → energy→wavelength → find files → AutoCalibrateZarr → report BC, Lsd, tilts
2. Integration + Viz
"Integrate the CeO2 data" then "Show the lineout" → 2D→1D integration → auto-launch MIDAS viewer with correct script
3. X-ray Calculations
"Calculate d-spacing for (110) in bcc iron" → xray_calculate tool — never computes manually
4. Motor Control
"Move m1 to 50.0" → limit check → move → wait → report "Stop!" → immediate STOP=1
5. Full HEDM Workflow
"Run FF-HEDM on test5" → validate dir → run_ff_hedm_full_workflow → grains, convergence, outputs
6. Multi-turn
Remembers context: "Now track grains between step 1 and 2" → knows what data you were working with

## Slide 11
Why It Matters for Beamline Users
1
No more memorizing flags
You say "calibrate" — APEXA knows AutoCalibrateZarr.py --paramFN ... --darkFN ...
2
No more wrong script paths
Agent Skills are version-locked to the MIDAS v10/v11 manual
3
Errors caught before execution
Validates directories, parameters, and limits before running anything
4
Faster beamtime
Operators spend time on science, not command-line plumbing
5
Safe motor control
AI respects physical constraints; humans confirm large moves
6
Works with your model of choice
Swap between GPT-5, Claude, Gemini without changing workflows

## Slide 12
Command Reference: Calibration & Integration
Calibration
▶ Calibrate the CeO2 image in test5
▶ Calibrate the CeO2 data at 61.332 keV in test5
▶ Calibrate test5/CeO_000001.tif.ge using test5/Parameters.txt with dark file test5/dark_CeO_000001.tif.ge
▶ What calibrants are available?
▶ Validate: energy 61.332 keV, detector distance 650 mm, beam center 1024 1024
Integration (2D → 1D)
▶ Integrate the diffraction image in test5
▶ Integrate test5/CeO_000001.tif.ge using calibration file refined_MIDAS_params_CeO.txt
▶ Integrate test5/CeO_000001.tif.ge with dark file test5/dark_CeO_000001.tif.ge
▶ Batch integrate data/sample_003083.ge1.h5 frames 3083 to 3085 using dark file data/dark_003084.ge1.h5 with 80 CPUs
X-ray Calculations
▶ Convert 61.332 keV to wavelength
▶ Calculate d-spacing for (110) plane in bcc iron
▶ Convert 0.2022 angstroms to energy
▶ What is 2-theta for d=2.03 Å at 61.332 keV?
▶ Calculate strain: measured d 2.035, ref 2.028
▶ List all available materials

## Slide 13
Command Reference: HEDM & Grain Analysis
HEDM Workflows
▶ Run FF-HEDM reconstruction on test5
▶ Run FF-HEDM on test5 with GPU enabled
▶ Resume FF-HEDM from checkpoint test5/checkpoint.h5
▶ Restart FF-HEDM from the indexing step in test5
▶ Run NF-HEDM reconstruction using test5/Parameters.txt
▶ Run NF-HEDM using test5/Parameters.txt with FF grains from test5/Grains.csv
▶ Run PF-HEDM workflow using Parameters.txt with positions file scan_positions.csv
Grain Analysis & Post-Processing
▶ Match grains between step1/Grains.csv and step2/Grains.csv with position tolerance 100 microns and orientation tolerance 2 deg
▶ Calculate misorientation between grain 1 and grain 5 in test5/Grains.csv for FCC
▶ Extract grain centroids from test5/Grains.mic with minimum grain size 100 voxels
▶ Run forward simulation using test5/Grains.csv and test5/Parameters.txt
▶ Convert NF-HEDM results to Dream3D format
▶ Overlay FF and NF results from test5

## Slide 14
Command Reference: Visualization & Motor Control
Visualization
▶ Show me the diffraction image in test5
▶ Plot the lineout for test5 integration
▶ Show the caked output in test5/integration
▶ Plot the calibration results in test5
▶ Launch the live viewer for test5/CeO_lineout.bin with 2000 radial bins
▶ Show the FF-HEDM grain results in test5
▶ View the NF microstructure map test5/Grains.mic
▶ Compare lineouts from test5 and test6
Motor Control (EPICS)
▶ What is the position of motor m1?
▶ Show me the status of motor m1
▶ Show positions of motors m1, m2, m3, m4
▶ Move m1 to 25.3
▶ Move m1 by +0.5
▶ Tweak m1 forward by 0.01
▶ Jog m1 forward for 2 seconds
▶ Stop motor m1!
▶ Set motor m1 velocity to 5.0
▶ What are the limits of m1?
▶ Set high limit of m1 to 200 and low to -50
▶ Home motor m1 in the forward direction

## Slide 15
Command Reference: Knowledge & Multi-Turn Workflows
Knowledge & Material Properties
▶ What are the material properties of CeO2?
▶ Give me the lattice parameters for LaB6
▶ What is the space group of titanium?
▶ Material properties of Steel_316L
▶ What is the difference between FF and NF HEDM?
▶ What are best practices for calibration at high energy?
▶ What are typical HEDM parameters for 61 keV?
▶ Estimate detector distance from ring radii [412, 478, 675] px at 0.2022 Å, pixel 200 µm
Multi-Turn Workflow (context-aware)
▶ 1. Calibrate the CeO2 data in test5 at 61.332 keV
▶ 2. Now integrate that data
▶ 3. Show me the lineout
▶ 4. What phases match these peaks?
▶ 5. Run FF-HEDM on this data
▶ 6. How many grains were found?
▶ 7. Track grains between step 1 and step 2
▶ 8. Export the results to Dream3D
APEXA remembers context across turns — no need to repeat file paths or parameters.

## Slide 16
APEXA
Talk to your beamline.
42 tools | 5 specialist agents | 3 MCP servers Calibration • Integration • FF/NF/PF-HEDM • Motor Control • Visualization
Pawan Tripathi | ptripathi@anl.gov | Advanced Photon Source, Argonne National Laboratory
github.com/AdvancedPhotonSource/APS-Beamline-Assistant